Using a Compound Light Microscope

Background: Microscopes are very important tools in biology. The term microscope can be translated as “to view the tiny,” because microscopes are used to study things that are too small to be easily observed by other methods. The type of microscope that we will be using in this lab is a compound light microscope. Light microscopes magnify the image of the specimen using light and lenses. The term compound means that this microscope passes light through the specimen and then through two different lenses. The lens closest to the specimen is called the objective lens, while the lens nearest to the user’s eye is called the ocular lens or eyepiece. When you use a compound light microscope, the specimen being studied is placed on a glass slide. The slide may be either a prepared slide that is permanent and was purchased from a science supply company, or it may be a wet mount that is made for temporary use and is made in the lab room.

Procedure: Part I. Learning about the microscope

1. One member of your lab group should go and get a microscope. Always carry the microscope in an upright position (not tilted) using two hands. One hand should hold the microscope’s arm and the other hand should support the base. Set it down away from the edge of the table. Always remember that a microscope is an expensive, precision instrument that should be handled carefully.

2. Do not plug in the microscope until you have completed drawing a labeled diagram of the microscope and its parts.

3. Compare your microscope with the microscope diagrams. Identify the parts on your microscope and see if you can determine the function of each part.  Draw a diagram of your microscope in your data.  Label your microscope drawing with the following: eyepiece, (mechanical) stage, nosepiece, base, arm/stand, objectives, coarse adjustment knob, fine focus knob, iris diaphragm, binocular or monocular head, slide holder, coaxial stage control, on/off switch, cord holder.

4. Draw a data table similar to this one, to list functions of the various microscope parts.

| Part | Name | Function |
| --- | --- | --- |

5. The ocular lens is marked with its magnification power. (This is how much larger the lens makes objects appear.) a. What is the magnification power of the ocular lens of your microscope?

6. The three objective lenses are marked with their magnification power. The first number marked on each lens is the magnification power of that lens. b. What is the magnification of the lowest power lens of your microscope?

c. What is the magnification of the highest power lens you are allowed to use?

(Do not use the100x lens. This lens is for oil immersion only and you will ruin the lens if you use it without oil)

7. To find the total magnification of your microscope as you are using it, multiply the ocular lens power times the power of the objective lens that you are using. For example, if the ocular lens of a microscope has a power of 5x and you use an objective that is 10x, then the total magnification of the microscope at that time is 50x (5x10=50). d. What is the total magnification of your microscope when using low power?

e. What is the total magnification of your microscope when using high power?

Part II. Preparing and using a Wet Mount

8. Using a piece of newspaper or phone book, find a small, lowercase letter “e.” Cut a 1 cm square with that letter “e” near the middle of the square. (Do not just cut out the letter e, or it will be too hard to work with. The piece of paper that you cut out should be about the size of a little fingernail.)

9. Place the square of paper in the middle of a clean glass slide. Position the square so that the words are in normal reading position (in other words, don’t have the “e” turned sideways or upside-down). With a pipette, put 1 drop of water on the paper square. Drop the water from about 1 cm above the slide; do not touch the pipette to the paper square or the paper will stick to the pipette.

10. Now, cover the water drop with a clean cover slip by holding the cover slip at a 45° angle to the slide and move it over the drop. As the water touches the cover slip, it will start to spread. Gently lower the angle of the cover slip to allow the water to evenly coat the under surface, then let the coverslip drop into place. You should not just drop the cover slip onto the slide or air bubbles will get trapped. This makes the slide very difficult to study. If you do trap several air bubbles, remove the coverslip and try again. Never press on the cover slip to try to remove air bubbles. This will break the cover slip and/or damage your specimen.

Plug in and turn on your microscope.

11. On your microscope, move the low-power objective into place. You should always begin studying a slide on low power, because this makes it easiest to find objects on the slide. Position the diaphragm so that the largest opening is used. This will allow the maximum amount of light to be used. Check your wet mount slide to be sure that the bottom of the slide is dry. (A wet slide will stick on the stage of the microscope.) Sit so that the arm of the microscope is closest to you, and place the slide on the stage with the “e” in a normal reading position for you.

12. Use the slide holder to hold the slide in place.  To put the slide into the slide holder, use one finger to open the slide holder with the “hook” on the edge of the slide holder. Place the slide so that it is aligned with the inner edge of the slide holder and release the “hook”. Look at the microscope from the side and use the coarse adjustment knob to get the stage as close to the low-power objective as possible.

13. Look through the ocular lens, keeping both eyes open. (It may seem difficult to keep both eyes open, but learning to do so helps to prevent eyestrain or headaches.) Slowly adjust the focus of the microscope by using the coarse adjustment knob to lower the stage, until the letters become clear. Then, use the fine adjustment to sharpen the focus. Move the slide left or right, forward or backward, until the letter “e” is in the center of the field of view. In the circle to the right, draw the letter “e” in the same size and position as you see it in the microscope.

f. Describe the position of the image of the letter “e” through the

microscope compared to the position that it is placed on the slide.

14. Move the slide to the left. g. Which direction did the image move?

15. Move the slide away from you. h. Which way did the image move?

16. Look through the microscope as you change the adjustment of the diaphragm.

i. What does the diaphragm control?

Important Note: Before switching to high power, you should always position the specimen in the center of the field of view and use the fine adjust to sharpen the focus of the image. Never use the coarse adjustment when using high power. Doing so could break the slide or the microscope!

17. Watching from the side, switch to the high-power objective lens. Make sure that the lens does not hit the slide, but expect it to be very close.

18. Looking through the ocular, use a slight turn of the fine adjustment knob to focus the image of the letter “e”. In the circle to the right, draw the letter “e” in the same size and position

as you see it in the microscope. j. Describe the appearance of the image that you see.

Are you seeing more or less of the letter “e” than you did at low-power?

k. Is the field of view (the area that you are observing) larger or smaller when you use

high power?

19. Look through the microscope (on high power) with the diaphragm at its

largest setting. While looking through the ocular, switch the microscope to low power

l. Compare the brightness of the field under high power and low power. Which setting is brighter?

Part III. Other Observations

20. Select a picture from a magazine that has several bright colors. Cut out a

1 cm square from the picture that has a variety of colors. Clean off your slide from Part II and make a new wet mount with the magazine picture.

21. Observe the magazine picture, starting on low power and scanning the image. Then switch to high power and observe the colors.

m. Record the colors seen without the microscope:              Record the colors seen with the microscope:

22. Prepare a new wet mount, this time using hair from people that are two different colors. Cross the hairs on the slide (it may be easiest to cut each hair to about a 1 cm length) and cover them where they cross. View the slide under low power and focus on where they cross. Draw the image that you see in the circle to the right.

23. Center the crossing point and switch to high power. Focus on the

lighter of the two hairs, using the fine adjustment knob.

n. Is the darker hair in focus at the same time as the lighter hair? Explain.

24. Obtain a prepared slide from the slide box. Draw your observations in the circles

below, labeling each with a brief description of what the specimen is and what magnification was used for the drawing.

Questions/Analysis

1. Why should you always begin to use a microscope with the low-power objective?

2. Why should you only use the fine adjustment when the high-power objective is in position?

3. Why must the specimen be centered before switching to high power?

4. If you placed a letter “g” under the microscope, how would the image look in the field of view?

5. If a microscope has an ocular with a 5x power, and has objectives with powers of 10x and 50x, what is the total magnification of: (Show your math for full credit!) a. low power?

b. high power?

6. If you are looking through a microscope at a freshly prepared wet mount and you see several perfect circles that are completely clear surrounding you specimen, what is the most likely explanation?